## Table 1
TABELLA A – PREZZI SERVIZI CONSEGNA STANDARD LOW VOLTAGE MOTORS
Low Voltage Motors | Costs for the Activities required for each Motor
Motor Nominal Power [kW] | 1) Diagnostic and Inspection Report to issue | 2) Motor Maintenance | 3) Motor Heat Treatment | 4) Motor Rewinding |  | A/R Transportation up to 700 kg | A/R Transportation from 701 kg to 1200 kg | A/R Transportation from 1201 kg to 5000 kg* | Standard Delivery Time required
≤1,5 kW | 50 | 65 | 20 |  | 20 | 210 | 256 | 1250 | 10 Calendar Days
1,5< P ≤5,5 | 50 | 65 | 20 |  | 30 | 210 | 256 | 1250 | 10 Calendar Days
5,5< P ≤11 | 60 | 70 | 30 |  | 40 | 210 | 256 | 1250 | 10 Calendar Days
11< P ≤22 | 60 | 130 | 30 |  | 190 | 210 | 256 | 1250 | 10 Calendar Days
22< P ≤37 | 70 | 155 | 40 |  | 210 | 210 | 256 | 1250 | 10 Calendar Days
37< P ≤55 | 80 | 210 | 50 |  | 320 | 210 | 256 | 1250 | 10 Calendar Days
55< P ≤90 | 120 | 270 | 60 |  | 410 | 210 | 256 | 1250 | 10 Calendar Days
90< P ≤150 | 160 | 1050 | 120 |  | 1400 |  |  | 1250 | 10 Calendar Days
≤350 kW | 220 | 1200 | 200 |  | 5900 |  |  | 1250 | 10 Calendar Days
TABELLA B – PREZZI SERVIZI CONSEGNA URGENTE LOW VOLTAGE MOTORS
Low Voltage Motors | Costs for the Activities required for each Motor
Motor Nominal Power [kW] | 1) Diagnostic and Inspection Report to issue | 2) Motor Maintenance | 3) Motor Heat Treatment | 4)Motor Rewinding |  | A/R Transportation up to 700 kg | A/R Transportation from 701 kg to 1200 kg | A/R Transportation from 1201 kg to 5000 kg | Urgent Delivery Time required
≤1,5 kW | 50 | 65 | 20 |  | 20 | 234 | 274 | 1300 | 5 Calendar Days
1,5< P ≤5,5 | 50 | 65 | 20 |  | 30 | 234 | 274 | 1300 | 5 Calendar Days
5,5< P ≤11 | 60 | 70 | 30 |  | 40 | 234 | 274 | 1300 | 5 Calendar Days
11< P ≤22 | 60 | 130 | 30 |  | 190 | 234 | 274 | 1300 | 5 Calendar Days
22< P ≤37 | 70 | 155 | 40 |  | 210 | 234 | 274 | 1300 | 5 Calendar Days
37< P ≤55 | 92 | 241.5 | 57.5 |  | 368 | 234 | 274 | 1300 | 5 Calendar Days
55< P ≤90 | 138 | 310.5 | 69 |  | 471.5 | 234 | 274 | 1300 | 5 Calendar Days
90< P ≤150 | 184 | 1207.5 | 138 |  | 1610 |  |  | 1300 | 5 Calendar Days
≤350 kW | 253 | 1380 | 230 |  | 6785 |  |  | 1300 | 5 Calendar Days
TABELLA C – PREZZI SERVIZI CONSEGNA STANDARD MEDIUM VOLTAGE MOTORS
Medium Voltage Motors/Alternators | [6 empty] | Costs for the Activities required for each Motor
MV Motor tag | Manufacturer | Type | Rated Power [kW] | Voltage [V] | Serial Number | Atex | Diagnostic and Inspection Report to issue | Ordinary Maintenance | Standard Delivery Time required
30-MKA-3101 | ABB | AMD630L2TBSBM | 900 | 6000 | 8130004144.01 | Exd II BT3 |  |  | 10 Working Days
30-MKA-3002 | ABB | AMI500L4L BSFPH | 2285 | 3300 | 4635656 | Ex pxe IIC T3 |  |  | 10 Working Days
30-MKC-3601 | ATB Schorch | KV6035G-PA04 | 1480 | 6000 | 48512511/1 | Ex pxe IIC T3 |  |  | 10 Working Days
30-MKB-6001 | NIDEC-ASI | ET 450L | 190 | 6000 | 10251781 | Exd II BT3 |  |  | 10 Working Days
30-MKB-3701A | NIDEC-ASI | CT500Y6 | 1090 | 6000 | 10257779 | Exd II BT3 |  |  | 10 Working Days
30-MKB-3701B | NIDEC-ASI | CT500Y6 | 1090 | 6000 | 10257780 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2501A | ABB | AMD355L4 RBABgM | 185 | 6000 | 8130003805.01/ 1 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2501B | ABB | AMD355L4 RBABgM | 185 | 6000 | 8130003805.01/ 2 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2501S | ABB | AMD355L4 RBABgM | 185 | 6000 | 814000123.01 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2502A | ABB | AMD500L2 TBABM | 570 | 6000 | 8130003805.02/ 1 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2502B | ABB | AMD500L2 TBABM | 570 | 6000 | 8130003805.02/ 1 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2502S | ABB | AMD500L2 TBABM | 570 | 6000 | 814000123.02 | Exd II BT3 |  |  | 10 Working Days
30-MPA-3201A | ATB Schorch | KD2354X-AH41E | 200 | 6000 | 44024401/1 | Ex de II BT4 |  |  | 10 Working Days
30-MPA-3201B | ATB Schorch | KD2354X-AH41E | 200 | 6000 | 44024401/2 | Ex de II BT4 |  |  | 10 Working Days
30-MPA-2602A | ABB | AMI500L2L BSPH | 2000 | 11000 | 4637936 | Ex pxe IIC T3 |  |  | 10 Working Days
30-MPA-2602B | ABB | AMI500L2L BSPH | 2000 | 11000 | 4636043 | Ex pxe IIC T3 |  |  | 10 Working Days
30-MPA-2602S | ABB | AMI500L2L BSPH | 2000 | 11000 | 4636044 | Ex pxe IIC T3 |  |  | 10 Working Days
30-MPA-2601A | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/ 1 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2601B | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/ 2 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2601C | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/ 3 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2601D | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/ 4 | Exd II BT3 |  |  | 10 Working Days
30-MPA-2601S | ABB | AMD355L6 RBABgM | 325 | 6000 | 8140000123.03 | Exd II BT3 |  |  | 10 Working Days
30-KC-6101A | ABB | AMD355L4RBABg FM | 350 | 690 | 8140003640.01/ 1 | Exd II BT3 |  |  | 10 Working Days
30-KC-6101B | ABB | AMD355L4RBABg FM | 350 | 690 | 8140003640.01/ 2 | Exd II BT3 |  |  | 10 Working Days
30-KC-6101C | ABB | AMD355L4RBABg FM | 350 | 690 | 8140003640.01/ 3 | Exd II BT3 |  |  | 10 Working Days
30-MPA-6601A | ABB | AMD355L4RBABg M | 230 | 6000 | 8140001179.01/ 1 | Exd II BT3 |  |  | 10 Working Days
30-MPA-6601B | ABB | AMD355L4RBABg M | 230 | 6000 | 8140001179.01/ 2 | Exd II BT3 |  |  | 10 Working Days
30-MKA-3101S | ABB | AMD630L2TBSBM | 900 | 6000 | 8130003023.01 | Exd II BT3 |  |  | 10 Working Days
Turbine SOLAR | ABB | AMS900L4ABSPT | 15930 kVA | 11000 | 8268892 |  |  |  | 10 Working Days
Turbine SOLAR | ABB | AMS900L4ABSPT | 15930 kVA | 11000 | 8268893 |  |  |  | 10 Working Days
30-MKB-3311A | Nidec ASI SPA | ET 450 L4 | 250 | 6000 |  |  |  |  | 10 Working Days
30-MKB-3311B | Nidec ASI SPA | ET 450 L4 | 250 | 6000 |  |  |  |  | 10 Working Days
30-MKB-3311C | Nidec ASI SPA | ET 450 L4 | 250 | 6000 |  |  |  |  | 10 Working Days
30-MKC-6201A | Siemens | NF614537570100 01 | 267 | 6000 |  |  |  |  | 10 Working Days
30-MKC-6201B | Siemens | NF614537570100 01 | 267 | 6000 |  |  |  |  | 10 Working Days
30-MPA-6802A | ATB Schorch | KD2408XAH41E | 355 | 6000 |  |  |  |  | 10 Working Days
30-MPA-6802B | ATB Schorch | KD2408XAH41E | 355 | 6000 |  |  |  |  | 10 Working Days
30-MPA-6802C | ATB Schorch | KD2408XAH41E | 355 | 6000 |  |  |  |  | 10 Working Days
30-MPA-0102 | WEG | TEFC (frame HGF 400C/D/E) | 500 | 6000 |  |  |  |  | 10 Working Days
TABELLA D – PREZZI SERVIZI CONSEGNA URGENTE MEDIUM VOLTAGE MOTORS
Medium Voltage Motors/Alternators | [6 empty] | Costs for the Activities required for each Motor
MV Motor tag | Manufacturer | Type | Rated Power [kW] | Voltag e [V] | Serial Number | Atex | Diagnostic and Inspection Report to issue | Ordinary Maintenanc e | Urgent Delivery Time required
30-MKA-3101 | ABB | AMD630L2TBSBM | 900 | 6000 | 8130004144.01 | Exd II BT3 |  |  | 7 Working Days
30-MKA-3002 | ABB | AMI500L4L BSFPH | 2285 | 3300 | 4635656 | Ex pxe IIC T3 |  |  | 7 Working Days
30-MKC-3601 | ATB Schorch | KV6035G-PA04 | 1480 | 6000 | 48512511/1 | Ex pxe IIC T3 |  |  | 7 Working Days
30-MKB-6001 | NIDEC-ASI | ET 450L | 190 | 6000 | 10251781 | Exd II BT3 |  |  | 7 Working Days
30-MKB-3701A | NIDEC-ASI | CT500Y6 | 1090 | 6000 | 10257779 | Exd II BT3 |  |  | 7 Working Days
30-MKB-3701B | NIDEC-ASI | CT500Y6 | 1090 | 6000 | 10257780 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2501A | ABB | AMD355L4 RBABgM | 185 | 6000 | 8130003805.01/1 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2501B | ABB | AMD355L4 RBABgM | 185 | 6000 | 8130003805.01/2 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2501S | ABB | AMD355L4 RBABgM | 185 | 6000 | 814000123.01 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2502A | ABB | AMD500L2 TBABM | 570 | 6000 | 8130003805.02/1 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2502B | ABB | AMD500L2 TBABM | 570 | 6000 | 8130003805.02/1 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2502S | ABB | AMD500L2 TBABM | 570 | 6000 | 814000123.02 | Exd II BT3 |  |  | 7 Working Days
30-MPA-3201A | ATB Schorch | KD2354X-AH41E | 200 | 6000 | 44024401/1 | Ex de II BT4 |  |  | 7 Working Days
30-MPA-3201B | ATB Schorch | KD2354X-AH41E | 200 | 6000 | 44024401/2 | Ex de II BT4 |  |  | 7 Working Days
30-MPA-2602A | ABB | AMI500L2L BSPH | 2000 | 11000 | 4637936 | Ex pxe IIC T3 |  |  | 7 Working Days
30-MPA-2602B | ABB | AMI500L2L BSPH | 2000 | 11000 | 4636043 | Ex pxe IIC T3 |  |  | 7 Working Days
30-MPA-2602S | ABB | AMI500L2L BSPH | 2000 | 11000 | 4636044 | Ex pxe IIC T3 |  |  | 7 Working Days
30-MPA-2601A | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/1 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2601B | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/2 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2601C | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/3 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2601D | ABB | AMD355L6 RBABgM | 325 | 6000 | 8130003805.03/4 | Exd II BT3 |  |  | 7 Working Days
30-MPA-2601S | ABB | AMD355L6 RBABgM | 325 | 6000 | 8140000123.03 | Exd II BT3 |  |  | 7 Working Days
30-KC-6101A | ABB | AMD355L4RBABgF M | 350 | 690 | 8140003640.01/1 | Exd II BT3 |  |  | 7 Working Days
30-KC-6101B | ABB | AMD355L4RBABgF M | 350 | 690 | 8140003640.01/2 | Exd II BT3 |  |  | 7 Working Days
30-KC-6101C | ABB | AMD355L4RBABgF M | 350 | 690 | 8140003640.01/3 | Exd II BT3 |  |  | 7 Working Days
30-MPA-6601A | ABB | AMD355L4RBABg M | 230 | 6000 | 8140001179.01/1 | Exd II BT3 |  |  | 7 Working Days
30-MPA-6601B | ABB | AMD355L4RBABg M | 230 | 6000 | 8140001179.01/2 | Exd II BT3 |  |  | 7 Working Days
30-MKA-3101S | ABB | AMD630L2TBSBM | 900 | 6000 | 8130003023.01 | Exd II BT3 |  |  | 7 Working Days
Turbine SOLAR | ABB | AMS900L4ABSPT | 15930 kVA | 11000 | 8268892 |  |  |  | 7 Working Days
Turbine SOLAR | ABB | AMS900L4ABSPT | 15930 kVA | 11000 | 8268893 |  |  |  | 7 Working Days
30-MKB-3311A | Nidec ASI SPA | ET 450 L4 | 250 | 6000 |  |  |  |  | 7 Working Days
30-MKB-3311B | Nidec ASI SPA | ET 450 L4 | 250 | 6000 |  |  |  |  | 7 Working Days
30-MKB-3311C | Nidec ASI SPA | ET 450 L4 | 250 | 6000 |  |  |  |  | 7 Working Days
30-MKC-6201A | Siemens | NF6145375701000 1 | 267 | 6000 |  |  |  |  | 7 Working Days
30-MKC-6201B | Siemens | NF6145375701000 1 | 267 | 6000 |  |  |  |  | 7 Working Days
30-MPA-6802A | ATB Schorch | KD2408XAH41E | 355 | 6000 |  |  |  |  | 7 Working Days
30-MPA-6802B | ATB Schorch | KD2408XAH41E | 355 | 6000 |  |  |  |  | 7 Working Days
30-MPA-6802C | ATB Schorch | KD2408XAH41E | 355 | 6000 |  |  |  |  | 7 Working Days
30-MPA-0102 | WEG | TEFC (frame HGF 400C/D/E) | 500 | 6000 |  |  |  |  | 7 Working Days
ANNEX 1 – DETAILED ACTIVITIES FOR LV MOTORS
Details of the Activities required
Diagnostic and Inspection Report to issue | Motor Maintenance | Motor Paint andHeat Treatment | Motor Rewinding | A/R Transportation up to 700 kg | A/R Transportation from 700 kg to 5000 kg | Delivery Time required | Urgent Delivery Timerequired
Motor inspection and Fault analysis with issuing of Inspection Report highlighting all the activities to perform and overall | complete disassembly of the motor | heat treatment of the rotor and stator with class H insulation | check of the magnetic packby performingthe ring test | Transportationof the Motor from and To (A/R) tempa Rossa warehouse for load up to 700 kg; | Transportationof the Motor from and To (A/R) tempa Rossa warehouse for load up to 5000 kg; | The delivery time includesalso the A/R transportation | The urgent delivery time includes the A/R Trasportation
cost. |  | paint with
The cost of this item |  | oven drying
does not apply if
repairs are carried out.
| Rotor exstraction |  | dismantlingold winding |  |  | The delivery time count down starts when the motor leave the site andend when the motor is back to the site | For this service has tobe defined a Cost Increasing factor
|  |  | construction |  |  | The lead time between | The delivery time
| preliminary measurement ofstator winding insulation |  | of a new winding as theoriginal (copper included) |  |  | Company notification (by Email) and the motor pickup, cannot be more than 24 Hours, weekend excluded. | count down starts when the motor leavethe site and end whenthe motor is back to the site
values
| hydro- washing by means equipment with controlled pressure |  | rewiring |  |  | After received the Diagnostic of the Motor, The Company has to give feedback to the Subcontractor if proceedor not with reparation activities within 24 Hoursfrom Diagnostic report receivement. (also these 24 hours are included in the delivery time) | The lead time between Company notification (by Email) and the motor pick up, cannot be more than 24 Hours, weekend included.
| drying cycle in ventilated ovenwith controlled tempering |  | impregnation and oven drying cycle |  |  |  | After received the Diagnostic of the Motor, The Company has to give feedback tothe Subcontractor if proceed or not with reparation activities within 24 Hours from Diagnostic report receivement. (also these 24 hours are included in the delivery time)
| verification of the electrical balance of the phases of the stator winding |  | In case of execution of Motor rewinding, it has necessary to execute also the actions provided from Motor Maintenance and Motor heat Treatment
verification ofshaft linearity
dimensional check of bearingseats on shields and
shaft
dynamic balancing
Supply and replacement ofbearings
bearings grasingif required
rotor and stator painting
complete reassembly ofthe motor
bench (no- load) rotation test
issuance of report of work performed andtest results + Testing Certificates
ANNEX 2 – DETAILED ACTIVITIES FOR MV MOTORS
Details of the Activities required
Diagnostic and Inspection Report to issue | Ordinary Maintenance | A/R Transportation up to 5000 kg | Delivery Time required | Urgent Delivery Time required
Motor/Alternator inspection and Fault analysis with issuingof Inspection Report highlighting all the activities toperform and overall cost. The cost of this item does not apply if repairs are carried out. | visual inspection of the outer casing | Transportation of the Motor from and To (A/R) tempa Rossawarehouse for load up to 5000 kg; | The delivery time includes alsothe A/R transportation | The urgent delivery time includes the A/R Trasportation
| preliminary measurement of stator winding insulation values |  | The delivery time count down starts when the motor leave thesite and end when the motor is back to the site | For this service has to be defined a Cost Increasing factor
| complete disassembly of the motor |  | The lead time between Company notification (by Email) and the motor pick up, cannot be more than 24 Hours, weekend excluded. | The delivery time count down starts when the motor leave the site and end when the motor is back to the site
After received the Diagnostic of the
| hydro-washing by means of |  | Motor, The Company has togive
| "pulivapor" equipment with |  | feedback to the Subcontractor if proceed | The lead time between
| controlled pressure |  | or not with reparation activities within 24 | Company notification (by Email)
|  |  | Hours from Diagnostic report | and the motor pick up, cannot
|  |  | receivement. (also these 24 hours are | be more than 24 Hours,
|  |  | included in the delivery time) | weekend included.
| drying cycle in ventilated ovenwith controlled temperature |  |  | After received the Diagnostic of the Motor, The Company has to give feedback to the Subcontractor if proceed or not with reparation activities within 24 Hours from Diagnostic report receivement. (also these 24 hours are included in the delivery time)
verification of the electrical balance of the phases of the stator winding
painting of the stator winding with paint suitable for the insulation degree of the motorand as required by current IECstandards
check of the cage with special attention to the welds betweenthe cage and the short-circuit
verification of shaft linearity
dimensional check of bearingseats on shields and shaft dynamic balancing on a CEMB numerically controlled balancing machine with issuance of certification
painting of inner parts of shields
replacement of rolling bearings or adjustment of metal bearingswhite with inspection of bearing surfaces and cleaning ofbearings and accessories
cleaning, thorough and generalinspection of all other mechanical components
complete reassembly of themotor
repeat measurement of statorwinding insulation values
bench (no-load) rotation test
external repainting of the housing
issuance of report of work performed and test results + Testing Certificates
NOTE
1) CARICO E SCARICO A VS. CURA
2) COSTO DEL VIAGGIO: POSSONO ESSERE CARICATI PIU' MOTORI. IL PREZZO E' RIFERITO AL PESO MASSIMO COME DA VS. RICHIESTA. I PESI INFERIORI SARANNO QUOTATI A SECONDA DELL' INGOMBRO
3) PREZZO TOTALE MANUTENZIONE: COLONNE 1 + 2 + 3 (TABELLA A e B)
PREZZO TOTALE RIPARAZIONE: COLONNE 1 + 2 + 3 + 4 (TABELLA A e B)
4) NON POSSIAMO DARE NESSUNA CERTIFICAZIONE IN RIFERIMENTO ALLA CLASSIFICAZIONE EX DELLE MACCHINE