## Sheet 1
Qty | Catalog # | Description | (€ - EUR) Unit Price | (€ - EUR) Price
Networks
EtherNet/IP001 : Ring001
5 | 1585J-M4TBJM-2 | Patchcord: RJ45 Male / RJ45 Male, 4-Conductor, Teal TPE, Flex Rated, 2 meters (6.56 feet) | 27.1 | 135.5
3 | 1756-EN2TR | (CPU HOT BACK-UP) EtherNet 10-100M Bridge Module (2-Ports) | Included in Hardware Section | 0
1 | 2711P-T7C22D8S | (HMI) Graphic Terminal, PanelView Plus 7 Standard, 700, Touch, DC, DLR Ethernet | Included in Hardware Section | 0
EtherNet/IP001 : ETAP001
1 | 1783-ETAP | EtherNet/IP Tap w/ 3 copper ports | 234 | 234
|  |  | (€) Subtotal: | 369.5
Hardware
CPU HOT BACK-UP
2 | 1756-A4 | 1756 Chassis 4 slots | 222 | 444
2 | 1756-PA72 | 85-265 VAC Power Supply (5V @ 10 Amp) | 607 | 1214
2 | 1756-L71 | Logix5571 Controller With 2 Mbytes Memory | 3570 | 7140
2 | 1756-RM2 | Redundancy Module | 3300 | 6600
2 | 1756-RMC1 | Redundancy Module Cable, 1M | 113 | 226
2 | 1756-EN2TR | EtherNet 10-100M Bridge Module (2-Ports) | 1950 | 3900
|  |  | (€) Subtotal: | 19524
CESTELLO I/O E COMUNICAZIONE
1 | 1756-A7 | 1756 Chassis 7 slots | 339 | 339
1 | 1756-PA72 | 85-265 VAC Power Supply (5V @ 10 Amp) | 607 | 607
1 | 1756-EN2TR | EtherNet 10-100M Bridge Module (2-Ports) | 1950 | 1950
1 | 1756-IF8 | Analog Input - Current/Voltage 8 Pts (36 Pin) | 711 | 711
2 | 1756-TBCH | 36 Pin Screw Clamp Block With Standard Housing | 57.5 | 115
1 | 1756-IB16 | 10-31 VDC Input 16 Pts (20 Pin) | 241 | 241
1 | 1756-TBNH | 20 Position NemA Screw Clamp Block | 46.3 | 46.3
1 | 1756-OB16I | 10-30 VDC Isolated Output 16 Pts (36 Pin) | 486 | 486
1 | MVI56E-MNET | Modbus TCP/IP Client/Server Enhanced Communication Module | 2124 | 2124
1 | MVI56E-MCM | Modbus Master/Slave Enhanced Communication Module | 1767 | 1767
|  |  | (€) Subtotal: | 8386.3
HMI
1 | 2711P-T7C22D8S | Graphic Terminal, PanelView Plus 7 Standard, 700, Touch, DC, DLR Ethernet | 1090 | 1090
|  |  | (€) Subtotal: | 1090
|  |  | (€) Total: | 29369.8