| Company REM attn. Mr Spaziani |  | Name |  |
| --- | --- | --- | --- |
|  |  | Department | SWE RC-IT I DT LD LO&SYS |
|  |  | Telephone |  |
|  |  | Fax |  |
|  |  | E-Mail |  |
|  |  | Our reference | AGT-409235-QUOTATION NOT RELEASED! |
|  |  | Date | 26/11/2012 |

Commercial information your ref MV motors

Dear Mrs. / Mr.  ,

We thank you for your enquiry and have pleasure in putting forward our proposals for the above project:

| Item: | 01001 |  |
| --- | --- | --- |
|  | Quantity/ Type: | 1 Medium voltage motor |
|  | Order code: | 1LA44504AN30-Z |
|  | Accessories: | M13+A40+G50+Y82+M52+K09+A65 |
|  | Description: | -Y82: Additional name plate with orderer data (plain text necessary) -M52: Separate auxiliary terminal box for heating -M13: Anti-condensation heating 220-240V (min. 200V, max. 264V) -K09: System connection on right-hand side at drive end -G50: Shock pulse measuring (SPM), measuring nipple at DE and NDE -A65: 6 embedded resistance thermometers PT 100 without lightning arresters. -A40: 2 resistance thermometers PT 100 for 3 or 4 wire connection starting at terminals with roller-contact bearings |
|  | Others per unit: |  |
|  | Tests: |  |
|  | Others per item: |  |
|  | Techn. Data: | 850 kW 3 kV 50 Hz 1,490 rpm; IM B3; IP55; IC 411; |
|  | Delivery time: | 100 Working day(s) |
|  | Comment: | IP23 motor no available for this rated power We don't guarantee electrical and mechanical interchangeability with existent motor |
|  | ECCN: | N |
|  | AL: | N |

Item price: K = 53.000EUR

Total price: K = EUR

Delivery Time:

The delivery time ex works stated in the items is valid if your order is clarified in all technical and commercial details.

Validity:

This quotation is valid until 26.02.2013.

Commercial Condition:

The prices quoted are on the basis DDP Incoterms in the latest valid issue including our standard documentation. Additional or special documentation could be the subject of additional costs.

Payment shall be made as follows:

1/3 	Advance payment
  1/3 	At half delivery time
  1/3 	At time of delivery